# Detailed Diagnostic Report (DDR)

Report Generated: April 16, 2026

# 1. Property Issue Summary

Residential building inspection

## Primary Issues Identified:

Water seepage in walls

Cracks in terrace

Dampness in multiple areas

## Summary:

The property shows signs of moisture ingress and structural deterioration requiring immediate attention.

# 2. Area-wise Observations

## Area: Bathroom

### Observations:

Gaps in tile joints

Moisture seepage observed

### Thermal Findings:

Temperature variation indicates moisture presence

## Area: Terrace

### Observations:

Cracks in surface

Vegetation growth

### Thermal Findings:

Not Available

# 3. Probable Root Cause

## Primary Causes:

Water ingress through cracks

Poor waterproofing

## Analysis:

Moisture is entering through cracks and spreading via capillary action causing dampness.

# 4. Severity Assessment

Overall Severity: High

## Reasoning:

Continuous water seepage can damage structural components and increase repair costs.

# 5. Recommended Actions

## Immediate Actions Required:

Seal cracks in terrace

Repair tile joints

## Short-term Actions (1-3 months):

Apply waterproof coating

## Long-term Actions (3+ months):

Schedule periodic inspections

# 6. Additional Notes

Thermal data partially unavailable

# 7. Missing or Unclear Information

Detailed thermal images not available